## ICPms.tst
Analytical Results Reported by Desert Research Institute (Reno, NV) on March 5, 2001 to GMII for EWDP water sampling.
Site Name | Sampling date | GMII sample # | DRI Lab.# | Pump Depth (ft) | Sample Depth (ft) | Li ppb | Be ppb | B ppb | Al ppb | P ppb | Sc ppb | Ti ppb | V ppb | Cr ppb | Mn ppb | Fe ppb | Co ppb | Ni ppb | Cu ppb | Zn ppb | Ga ppb | Ge ppb | As ppb | Se ppb | Rb ppb | Sr ppb | Y ppb | Zr ppb | Nb ppb | Mo ppb | Ru ppb | Rh ppb | Pd ppb | Ag ppb | Cd ppb | In ppb | Sn ppb | Sb ppb | Te ppb | Cs ppb | Hf ppb | Ta ppb | W ppb | Re ppb | Os ppb | Ir ppb | Pt ppb | Au ppb | Hg ppb | Tl ppb | Pb ppb | Bi ppb | Po ppb | Ra ppb | Th ppb | U ppb
NC-EWDP-01s | 1999-11-08 | 991108-01s-11 | 44822 | 249 | 210-270 | 4.88 | -0.1 | -10 | 3.6 | 546.2 | 16.6 | 1.03 | -0.2 | -1 | 3.58 | 48.87 | -0.1 | 1.1 | -1 | 2.77 | -0.1 | -1 | -1 | -2 | 20.7 | 621.94 | -0.1 | -0.1 | -0.1 | -5 | -0.1 | -0.5 | -0.1 | -0.5 | -0.1 | -0.1 | -0.1 | -1 | -0.1 | -2 | -0.2 | -0.2 | -0.5 | -0.2 | -0.1 | -0.1 | -0.1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -10
NC-EWDP-01s | 1999-11-08 | 991108-01s2-3 | 44823 | 179 | 160-180 | 6.25 | -0.1 | 18.07 | 3.79 | -100 | 15.48 | 1.16 | -0.1 | -0.2 | 1.866 | 30 | -0.1 | 1.19 | -0.1 | 3.48 | -1 | -1 | -5 | -5 | 20.7 | 626.5 | -0.1 | -2 | -5 | 10 | 35.4 | -0.5 | -0.1 | -1 | -0.2 | -0.2 | 20.92 | -0.5 | -5 | -5 | -1 | -1 | -10 | -0.1 | 24.77 | 34.56 | -1 | -5 | -10 | -5 | -0.5 | -5 | -10 |  | -2 | -10
NC-EWDP-09sx | 1999-11-09 | 991109-09s-04 | 44824 | 345 | 330-340 | 7.54 | -0.1 | 18.82 | -10 | -500 | 12.1 | -1 | -0.5 | -0.2 | -1 | 44.19 | -0.1 | -1 | -0.5 | 1.76 | -0.2 | -5 | 12.04 | -2 | -10 | 154.3 | -0.5 | -1 | -1 | -10 | -10 | -0.2 | -0.1 | -0.5 | -0.1 | -0.1 | -10 | -1 | -1 | -3 | -1 | -0.5 | -5 | -0.1 | -10 | -10 | -0.2 | -2 | -4 | -2 | -0.2 | -1 | -5 |  | -0.1 | -10
NC-EWDP-09sx | 1999-11-09 | 991109-09sx-02 | 44825 | 278 | 250-290 | 6.89 | -1 | 20.68 | -10 | 392.9 | 11.56 | -1 | -0.5 | -0.1 | -1 | 18.38 | -0.1 | -1 | -0.5 | -1 | -0.1 | -2 | -10 | -1 | -10 | 156.1 | -0.1 | -1 | -1 | -10 | -5 | -0.2 | -0.1 | -0.2 | -0.1 | -0.1 | -10 | -1 | -1 | -3 | -0.2 | -0.5 | -5 | -0.2 | -5 | -5 | -0.2 | -1 | -2 | -1 | -0.5 | -0.5 | -1 |  | -0.1 | -10
NC-EWDP-09sx | 1999-11-10 | 991110-09sx-02 | 44826 | 158 | 140-160 | 6.96 | -1 | 17.39 | 10.26 | 72.72 | 12.38 | -1 | -0.5 | -0.2 | -1 | 18.71 | -0.1 | -1 | -1 | -1 | -0.1 | -2 | 11.54 | -1 | -10 | 159.5 | -0.1 | -1 | -1 | -10 | -1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.01 | -5 | -1 | -1 | -3 | -0.2 | -0.2 | -3 | -0.2 | -5 | -2 | -0.2 | -0.5 | -2 | -1 | -0.2 | -0.2 | -10 |  | -2 | -10
NC-EWDP-09sx | 1999-11-10 | 991110-09sx2-02 | 44827 | 114 | 90-120 | 7.26 | -1 | 14.71 | 15.62 | -500 | 10.75 | -1 | -0.5 | -0.2 | -2 | 22.553 | -0.1 | -1 | -0.1 | -1 | -0.1 | -1 | 10.38 | -2 | 11.22 | 159.3 | -0.1 | -0.5 | -1 | -10 | -1 | -0.2 | -0.1 | -0.1 | -0.1 | -1 | -2 | -1 | -0.5 | -3 | -0.2 | -0.2 | -3 | -0.2 | -3 | -1 | -0.2 | -0.5 | -1 | -0.5 | -0.5 | -0.1 | -1 |  | -0.1 | -10
NC-EWDP-03s | 1999-11-15 | 991115-03s-02 | 44828 | 435.4 | 488 | 25.96 | -1 | 29.41 | 57.65 | -100 | 12.35 | -1 | -0.5 | -0.2 | -0.5 | 29.27 | -0.1 | -0.2 | -0.5 | -2 | -0.5 | -5 | 41.7 | -2 | -10 | -10 | -1 | -1 | -1 | 11.31 | -0.5 | -0.1 | -0.1 | -0.1 | -0.2 | -0.1 | -5 | -1 | -0.2 | -1 | -0.5 | -0.2 | -5 | -0.2 | -1 | -1 | -0.2 | -0.5 | -2 | -0.5 | -0.5 | -0.1 | -0.1 |  | -0.1 | 13.26
NC-EWDP-03s | 1999-11-15 | 991115-03s2-04 | 44829 | 390.2 | 398 | 15.17 | -1 | 26.65 | 166.3 | 416.7 | 15.37 | -1 | -1 | -0.2 | -1 | 19.49 | -0.1 | -0.2 | -0.1 | 1.022 | -0.5 | -2 | 39.26 | -2 | -10 | -10 | -0.2 | -1 | -0.5 | 13.45 | -0.2 | -0.1 | -5 | -0.1 | -0.2 | -0.1 | -2 | -1 | -0.2 | -1 | -0.5 | -0.2 | -5 | -0.2 | -1 | -0.5 | -0.2 | -0.2 | -2 | -0.5 | -1 | -0.1 | -10 |  | -0.1 | -10
NC-EWDP-19d | 2000-05-13 | C000513-19d | 47498 | 468.37 | 409-1380 | 12.7 | -1 | 19.04 | 163.5 | 46.82 | 15.24 | -1 | -1 | -0.5 | -2 | 13.6 | -0.1 | -0.5 | -2 | 1.342 | -0.5 | -2 | 36.7 | -1 | -10 | -10 | -1 | -1 | -0.5 | -10 | -0.1 | -0.1 | -0.1 | -0.1 | -0.2 | -0.1 | -0.1 | -1 | -0.2 | -1 | -0.2 | -0.2 | -5 | -0.1 | -1 | -0.5 | -0.2 | -0.2 | -1 | -0.2 | -1 | -0.1 | -2 |  | -0.1 | -5
NC-EWDP-04pa | 2000-05-15 | B000515-04pa | 47499 | 380 | 405-485 | 5.12 | -1 | 14.56 | 17.05 | -2000 | -10 | -1 | -1 | -1 | 3.16 | 45.78 | -0.1 | -2 | -0.1 | -0.5 | -0.2 | -1 | 12.6 | -1 | -10 | 64.14 | -0.1 | -0.2 | -0.2 | -10 | -0.1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.5 | -0.5 | -2 | -0.1 | -0.2 | -2 | -0.2 | -1 | -0.2 | -0.1 | -0.2 | -0.5 | -0.1 | -0.5 | -0.1 | -0.1 |  | -0.1 | -1
NC-EWDP-04pb | 2000-05-16 | B000516-04pb | 47501 | 400 | 740-839 | 4.09 | -1 | 17.78 | 69.1 | 463.3 | -10 | -1 | -2 | -1 | 2.08 | 30.81 | -0.1 | -1 | -0.1 | -0.1 | -1 | -1 | 33.53 | -2 | -10 | 42.3 | -0.1 | -2 | -5 | 21.57 | 35.3 | -0.2 | -0.1 | -1 | -0.2 | -0.2 | 19.64 | -1 | -5 | -2 | -3 | -1 | -10 | -0.1 | 25.35 | 33 | -1 | -5 | -10 | -5 | -0.5 | -5 | -0.1 | 29.64 | -1 | -2
NC-EWDP-05sb | 2000-05-16 | K000516-05s[b] | 47500 |  | 379-409 | 14.81 | -1 | 64.89 | -10 | 469.5 | -10 | -2 | -1 | -0.1 | 41.96 | 42.1 | -0.2 | -1 | -1 | -0.1 | -0.2 | -1 | -5 | -0.1 | 15.94 | 288.7 | -0.1 | -0.1 | -0.2 | 37.89 | -0.1 | -0.2 | -0.1 | -0.1 | -0.5 | -0.1 | -0.1 | -1 | -0.2 | -5 | -0.1 | -0.2 | -0.5 | -0.1 | -0.1 | -0.2 | -0.1 | -0.2 | -0.5 | -0.5 | -0.2 | -0.1 | 12.98 |  | -0.1 | -1
NC-EWDP-05sb | 2000-05-17 | B000517-05s[b] | 47503 |  | 379-409 | 17.02 | -0.1 | 64.39 | -5 | -50 | -10 | 1 | -0.1 | -0.2 | 54.55 | 247.56 | -0.1 | -1 | -0.1 | -0.1 | -0.5 | -5 | -5 | -1 | 17.59 | 358.7 | -0.1 | -0.1 | -1 | 31.48 | -5 | -0.5 | -0.1 | -0.2 | -0.5 | -0.1 | -10 | -1 | -0.5 | -5 | -0.5 | -0.2 | -1 | -0.1 | -5 | -5 | -0.1 | -1 | -2 | -1 | -0.1 | -0.5 | -10 | -0.1 | -1 | -1
NC-EWDP-03s | 2000-05-17 | M000517-03s | 47502 |  | 250-270 | 24.8 | -0.1 | 28.22 | 177.9 | 394.3 | 12.3 | -1 | -0.2 | -0.2 | -1 | 8.72 | -0.1 | -0.2 | -1 | -0.2 | -0.5 | -5 | 32.3 | -2 | -10 | -10 | -0.5 | -1 | -1 | 12.25 | -10 | -0.1 | -0.1 | -0.5 | -0.1 | -0.1 | -10 | -0.2 | -2 | -1 | -1 | -1 | -5 | -0.2 | -10 | -10 | -0.2 | -2 | -5 | -2 | -1 | -1 | -5 |  | -1 | -10
NC-EWDP-01s | 2000-05-18 | B000518-01s | 47567 | 248 | 210-270 | 5.72 | -0.1 | 22.82 | -5 | -500 | 11.2 | -1 | -0.1 | -0.1 | 8.24 | 67.449 | -0.1 | 1.21 | -0.1 | 1.761 | -0.1 | -2 | -5 | -2 | 20.65 | 598.47 | -0.1 | -0.5 | -1 | -5 | -1 | -0.5 | -0.1 | -0.2 | -0.1 | -1 | -5 | -1 | -0.2 | -3 | -0.2 | -0.5 | -2 | -0.2 | -3 | -3 | -0.1 | -1 | -2 | -1 | -0.1 | -0.2 | -2 |  | -0.1 | -10
NC-EWDP-01s | 2000-05-19 | C000519-01s | 47568 | 105 | 160-180 | 5.86 | -0.1 | 18.06 | -5 | 715.9 | 13.66 | 1.01 | -0.5 | -0.2 | 1.28 | 44.74 | -0.1 | 1.19 | -0.1 | 2.28 | -0.1 | -1 | -10 | -1 | 20.31 | 629.1 | -0.1 | -0.1 | -0.5 | -5 | -1 | -1 | -0.1 | -0.1 | -0.1 | -0.1 | -5 | -1 | -0.2 | -3 | -0.5 | -0.2 | -2 | -0.1 | -2 | -2 | -0.1 | -0.5 | -1 | -0.5 | -0.2 | -0.1 | -5 |  | -1 | 11.6
NC-EWDP-09sx | 2000-05-19 | L000519-09sx | 47569 |  | 330-340 | 7.04 | -0.1 | 14.13 | -5 | 425.3 | 12.15 | -1 | -0.5 | -0.5 | -1 | 39.48 | -0.1 | -1 | -0.1 | -0.5 | -0.1 | -2 | 11.52 | -1 | -10 | 162.53 | -0.1 | -0.5 | -0.5 | -5 | -1 | -0.2 | -0.1 | -0.1 | -0.5 | -0.1 | -2 | -1 | -0.2 | -5 | -0.5 | -0.5 | -2 | -0.1 | -2 | -1 | -0.1 | -0.5 | -1 | -0.5 | -0.1 | -0.1 | -0.1 | -0.1 | -0.2 | -10
NC-EWDP-09sx | 2000-05-19 | V000519-09sx | 47570 | 150 | 250-290 | 6.83 | -0.1 | 18.22 | -10 | -100 | -10 | -1 | -0.5 | -0.1 | -1 | 35.9 | -0.1 | -1 | -0.1 | 1.02 | -0.1 | -1 | -10 | -1 | -10 | 148.04 | -0.1 | -0.5 | -0.5 | -10 | -0.1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -1 | -0.2 | -2 | -0.2 | -0.2 | -2 | -0.1 | -1 | -1 | -0.1 | -0.2 | -1 | -0.5 | -0.5 | -0.1 | -0.1 | -0.1 | -0.1 | -10
NC-EWDP-09sx | 2000-05-20 | C000520-09sx | 47571 |  | 140-160 | 6.83 | -0.1 | 15.97 | -10 | -100 | 11.12 | -1 | -0.5 | -0.2 | -1 | 19.76 | -0.1 | -1 | -0.1 | -0.5 | -0.1 | -1 | 13.16 | -1 | -10 | 157.37 | -0.1 | -0.1 | -0.2 | -10 | -0.1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -2 | -1 | -0.2 | -3 | -0.5 | -0.2 | -2 | -0.1 | -0.5 | -0.5 | -0.1 | -0.2 | -0.5 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -10
NC-EWDP-09sx | 2000-05-20 | M000520-09sx | 47572 | 150 | 90-120 | 7.37 | -0.1 | 14.86 | 26.7 | 420 | -10 | -1 | -0.5 | -0.2 | -1 | 39.14 | -0.5 | -1 | -0.1 | 1.06 | -0.1 | -1 | -10 | -2 | 11.08 | 148.3 | -0.1 | -0.5 | -0.2 | -10 | -0.1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -0.2 | -1 | -1 | -3 | -0.2 | -0.2 | -3 | -0.1 | -0.5 | -0.5 | -0.1 | -0.2 | -0.1 | -0.2 | -0.5 | -0.1 | -0.1 | -0.1 | -0.2 | -10
NC-EWDP-12pb | 2000-05-22 | B000522-12pb | 47580 | 230 | 325-385 | 26.34 | -0.1 | 36.45 | -10 | -200 | 14.6 | -1 | -0.1 | -0.2 | 43.65 | 437.14 | -0.5 | 1.6 | -0.1 | 1.5 | -0.5 | -10 | -5 | -0.1 | 53.55 | 316.03 | -0.1 | -0.2 | -0.2 | 22.07 | -0.1 | -0.2 | -0.1 | -1 | -0.5 | -0.1 | -0.1 | -0.2 | -0.1 | -2 | -0.5 | -0.2 | -0.2 | -0.1 | -0.2 | -0.2 | -0.1 | -0.2 | -0.5 | -0.2 | -0.1 | -0.1 | 0 | -0.1 | -0.5 | -5
NC-EWDP-12pc | 2000-05-22 | M000522-12pc | 47582 | 187 | 170-230 | 6.75 | -0.1 | 18.2 | -10 | -500 | 14.17 | -1 | -1 | -0.2 | 1.88 | 29.58 | -0.1 | 1.05 | -0.1 | -0.5 | -0.2 | -2 | 14.83 | -1 | 23.43 | 506.3 | -0.1 | -0.2 | -1 | -10 | -10 | -0.5 | -0.1 | -0.5 | -0.1 | -0.1 | -10 | -0.5 | -1 | -5 | -0.2 | -0.5 | -5 | -0.2 | -10 | -10 | -0.2 | -2 | -5 | -2 | -0.2 | -1 | 13.51 | -0.1 | -1 | -10
NC-EWDP-12pa | 2000-05-22 | X000522-12pa | 47581 |  | 325-384 | 28.4 | -0.2 | 37.21 | -10 | -200 | 19.2 | 1.02 | -0.1 | -0.1 | 13.15 | 544.41 | -0.1 | -1 | -0.1 | -1 | -1 | -10 | -10 | -1 | 57.56 | 333.2 | -0.1 | -0.1 | -2 | 24.42 | 31.39 | -0.2 | -0.1 | -1 | -0.5 | -0.1 | 16.4 | -0.5 | -5 | -5 | -2 | -2 | -10 | -0.2 | 25.49 | 39.33 | -1 | -5 | -10 | -5 | -0.5 | -5 | -10 |  | -2 | -2
NC-EWDP-19p | 2000-05-23 | M000523-19p | 47584 | 389 | 359-459 | 3.56 | -0.1 | 17.56 | 31.08 | 176.73 | 14.74 | -1 | 1.19 | -0.2 | 2.63 | 19.87 | -0.1 | -1 | -0.1 | -1 | -1 | -1 | -10 | -2 | -10 | 63.96 | -0.1 | -0.5 | -0.5 | 13.68 | -1 | -0.2 | -0.1 | -0.5 | -0.2 | -0.1 | -2 | -0.5 | -0.5 | -2 | -0.5 | -0.5 | -3 | -0.2 | -5 | -5 | -0.2 | -1 | -2 | -0.5 | -0.5 | -0.2 | -5 | -0.1 | -0.1 | -1
NC-EWDP-15p | 2000-05-23 | B000523-15p | 47583 | 230 | 200-260 | 7.73 | -0.1 | 16.07 | -10 | 246.9 | 12.6 | -1 | -0.5 | -0.1 | 3.63 | 19.48 | -0.1 | -1 | -0.1 | 2.08 | -0.1 | -1 | 10.51 | -2 | -10 | 55.78 | -0.1 | -0.5 | -1 | 12.21 | -5 | -0.2 | -0.1 | -1 | -0.1 | -0.1 | -5 | -1 | -0.5 | -2 | -0.5 | -0.5 | -5 | -0.1 | -5 | -5 | -0.1 | -1 | -2 | -1 | -0.2 | -0.5 | -10 | -0.1 | -1 | -5
NC-EWDP-01dx | 2000-05-25 | B000525-01dx | 47585 | 220 | 2100+ | 52.24 | -0.2 | 83.44 | -10 | -100 | 12.16 | -1 | -0.1 | -0.2 | 10.81 | 869.21 | -0.1 | -1 | -0.2 | -1 | -0.5 | 14.18 | 12.87 | -5 | 178.96 | 1067 | -0.1 | -0.5 | -1 | -10 | -0.5 | -1 | -0.1 | -0.1 | -0.1 | -0.1 | -1 | -0.1 | -0.5 | 102.78 | -0.5 | -0.5 | -2 | -0.2 | -2 | -2 | -0.1 | -1 | -1 | -0.5 | -0.2 | -0.1 | 26.73 | -0.1 | -0.1 | -0.1
NC-EWDP-04pb | 2000-05-26 | B000526-04pb | 47586 |  | 740-839 | 4.31 | -0.1 | 12.38 | 77 | -200 | -10 | -1 | 1.086 | -1 | 2.43 | 53.68 | -0.2 | -0.5 | -0.1 | -0.1 | -1 | -2 | 34.84 | -0.1 | -10 | 36.06 | -0.1 | -0.2 | -0.5 | -10 | -0.1 | -0.2 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -1 | -0.2 | -2 | -0.1 | -0.2 | -5 | -0.2 | -1 | -1 | -0.1 | -0.5 | -2 | -0.2 | -1 | -0.1 | -10 |  | -0.1 | -2
NC-EWDP-05sb | 2000-10-23 | B001023-05sb | 49549 | 460 | 379-409 | 10.8 | -0.1 | 32.17 | 17.1 | 857.9 | -7.3 | -1 | -0.1 | -0.1 | 31.37 |  | -0.1 | -0.5 | -1 | -0.5 | -0.1 | -5 | -1.39 | -1.02 | 11.381 | 203.96 | -0.1 | -1 | -1 | 27.1 | -10 | -0.2 | -0.1 | -0.5 | -0.2 | -0.1 | -10 | -5 | -1 | -5 | -1 | -1 | -5 | -0.2 | -10 | 15.21 | -0.2 | -1 | -2 | -5 | -0.5 | -1 | 17.43 |  | 31.65 | -0.5
NC-EWDP-07s | 2000-10-24 | B001024-07s | 49550 | 30 | 21+ | 8.4 | -0.1 | 4.2 | -5.5 | 521.2 | -8.44 | 1.4 | -0.2 | -0.1 | 6.02 | 57.85 | -0.1 | 1.38 | -1 | 1.39 | -0.1 | -1 | -2 | -1 | 10.97 | 683.3 |  | -1 | -1 | -10 | -2 | -0.5 | -0.1 | -0.1 | -0.1 | -0.1 | -5 | -5 | -0.5 | -1 | -0.2 | -0.5 | -2 | -0.1 | -5 | -10 | -0.2 | -1 | -1 | -2 | -0.1 | -0.5 | 9.98 |  | -10 | -10
NC-EWDP-12pc | 2000-10-25 | D001025-12pc | 49553 | 187 | 170-230 | 5.31 | -0.1 | -10 | -3.3 | 642.52 | 17.9 | 1.05 | -1 | -1 | 3.59 | 50.67 | -0.1 | -2 | -1 | 1.445 | -0.1 | -5 | -6.3 | -2 | 23.41 |  | -0.1 | -0.1 | -0.2 | -10 | -0.1 | -0.5 | -0.1 | -1 | -0.1 | -0.1 | -0.1 | -1 | -0.1 | -5 | -0.2 | -0.5 | -3 | -0.2 | -0.1 | -1 | -0.1 | -0.5 | -1 | -0.5 | -0.2 | -0.1 | -0.1 |  | -0.1 | 10.11
NC-EWDP-12pb | 2000-10-25 | C001025-12pb | 49552 | 209.9 | 325-385 | 21.12 | -0.1 | 3.18 | -4 |  | 22.26 | -2 | -0.5 | -1 | 15.41 |  | -1 | 1.21 | -1 | -1 | -0.1 | -10 | -5 | -1 | 55.98 | 323.7 | -0.1 | -1 | -1 | 22.37 | -1 | -1 | -0.1 | -1 | -0.2 | -0.1 | -0.1 | -1 | -0.2 | -2 | -0.2 | -0.5 | -1 | -0.2 | -0.5 | -1 | -0.2 | -0.5 | -1 | -0.5 | -0.1 | -0.1 | -0.1 |  | -5 | -2
NC-EWDP-12pa | 2000-10-25 | B001025-12pa | 49551 | 210 | 325-384 | 22.99 | -0.1 | 11.3 | 17.5 | 633.6 | 21.5 | -1 | -0.2 | -1 | 8.35 |  | -0.1 | -1 | -1 | -1 | -0.1 | -10 | 17.7 | -1 | 58.23 | 359.67 | -0.1 | -0.5 | -1 | 15.69 | -1 | -0.5 | -0.1 | -0.1 | -0.2 | -0.1 | -1 | -1 | -0.2 | -2 | -1 | -0.5 | -2 | -0.2 | -2 | -5 | -1 | -1 | -1 | -1 | -0.1 | -0.1 | -10 |  | -5 | -3
NC-EWDP-04pa | 2000-10-26 | D001026-04pa | 49554 | 370 | 405-485 | 2.42 | -1 | -10 | 76.03 | 442.5 | 10.76 | -1 | 1.614 | -0.2 | -0.5 | 8.3867 | -0.1 | -0.1 | -1 | -0.5 | -0.5 | -1 | 34.82 | -1 | -5 | 37 | -0.1 | -1 | -0.5 | 36.93 | -0.1 | -0.2 | -0.1 | -0.5 | -0.2 | -0.1 | -0.1 | -1 | -0.1 | -2 | -0.5 | -0.2 | -5 | -0.1 | -0.1 | -0.5 | -0.2 | -0.5 | -1 | -0.5 | -0.1 | -0.1 | -10 |  | -1 | -1
NC-EWDP-04pb | 2000-10-26 | C001026-04pb | 49556 | 358.1 | 740-839 | 2.49 | -0.1 | -20 | 80.59 | 915.97 | 11.5 | -1 | 1.63 | -0.5 | -0.5 | 20.994 | -0.1 | -0.1 | -1 | -0.5 | -0.5 | -1 | 31.67 | -0.1 | -5 | 36.72 | -0.1 | -0.2 | -0.1 | 40.18 | -0.1 | -0.2 | -0.1 | -0.5 | -0.2 | -0.1 | -0.1 | -1 | -0.1 | -2 | -0.2 | -0.2 | -5 | -0.2 | -0.1 | -0.1 | -0.2 | -0.2 | -1 | -0.2 | -0.2 | -0.1 | -10 |  | -0.1 | -1
NC-EWDP-15p | 2000-10-26 | D001026-15p | 49555 | 225 | 200-260 | 5.59 | -1 | -20 | -10 |  | -16.9 | -1 | -1 | -0.1 | 4.81 | 33.37 | -0.1 | -0.5 | -0.1 | -1 | -0.1 | -1 | -9.2 | -1 | -10 | 57.66 | -0.01 | -0.2 | -0.2 | 14.19 | -0.1 | -0.5 | -0.1 | -0.5 | -0.1 | -0.1 | -0.1 | -1 | -0.1 | -2 | -0.1 | -0.2 | -2 | -0.2 | -0.1 | -0.2 | -0.2 | -0.2 | -0.5 | -0.1 | -0.5 | -0.1 | -0.1 |  | -0.5 | -5
NOTES:
All samples filtered in field through a 0.45 micron large capacity Geotech "dispos-a-filter."
Negative values indicate a below detection limit analysis.